## Swk Hvacr solution
SWK HVACR SOLUTION
Heating Ventilation , Air Condition & Electro- Mechanical Equipment Service
Description:-Stock balance June 7,2026
B.C No | Item Name | Model | Unit | Quantity 2018 | Remark
1 | Compressor/SECOP | TL4G | PCS | 53
2 | Compressor/Cubgel | 0.25 | PCS | 1
3 | Compressor KULTHORN | AZ A9420N-6 | PCS | 6 | Free of charge
4 | Compressor KULTHORN | AC 9426N-6 | PCS | 1 | Free of charge
5 | HITACH Compressor | AH288-AZ | PCS | 1
6 | Compressor Cubgel with all Acc |  | PCS | 2 | Free of charge
7 | Fan Motor 7W |  | PCS | 31 | Free of charge
8 | Fan Motor 10W |  | PCS | 2 | Free of charge
9 | Fan Motor 24W |  | PCS | 4 | Free of charge
10 | Current Relay |  | PCS | 19 | Free of charge
11 | Overload relay |  | PCS | 19 | Free of charge
12 | Capacitor 40Mf |  | PCS | 19 | Free of charge
13 | Capacitor 12Mf |  | PCS | 20 | Free of charge
14 | Filter Drier |  | PCS | 22 | Free of charge
15 | Fan Blead 200/34 |  | PCS | 22 | Free of charge
16 | Fan Blead 250/61 | 28*90*16 | PCS | 80 | KLIMASAN Import
17 | Fan Motor | A6002190 | PCS | 24 | KLIMASAN Import
18 | Compressor | A6001386 | PCS | 36 | KLIMASAN Import
19 | Compressor 1/4 | MQ-GQR80TG | PCS | 51
20 | Compressor 1/10 |  | PCS | 1
21 | Capacitor 98Mf |  | PCS | 1
22 | Capacitor 64Mf |  | PCS | 1 | Cold Truck
23 | Capacitor 3Mf |  | PCS | 3
24 | Capacitor 50Mf |  | PCS | 2
25 | Capacitor 47Mf |  | PCS | 1
26 | Capacitor 10Mf |  | PCS | 4
27 | Capacitor 40Mf |  | PCS | 3
28 | Danfos For cold room Control |  | PCS | 1
29 | Capacitor 80Mf |  | PCS | 36
30 | Fan Motor 7W | F6002292 | PCS | 22 | KLIMASAN Inport
31 | Thermostat | 250200 | PCS | 60 | KLIMASAN Inport
32 | Thermostat | 140199 | PCS | 60 | KLIMASAN Inport
33 | Digital Termostat |  | PCS | 10
34 | Valve Regulated lead acid battery | 12V | PCS | 4
35 | Main Board | 1872 | PCS | 3
36 | Display Board |  | PCS | 2
37 | Sensor Cable/Jumo |  | Roll | 4
38 | LAN Cable | 4*2*24 | Roll | 1
39 | Electrical Heating Cable |  | Roll | 5
40 | Male Industrial Plug 32A |  | PCS | 2
41 | Charging Valve |  | PCS | 123
42 | Electrical Tape/Nastro |  | PCS | 50
43 | Cable Tie 4.8*300mm |  | Pkt | 2
44 | Shuko Plug |  | PCS | 206
45 | Industral Socket 32A |  | PCS | 1
46 | Lamp | 40W | PCS | 1
47 | Halogen Lamp |  | PCS | 170
48 | Thermostat |  | PCS | 685 | VB7-615PCS & K5O-P1127-001-70PCS
49 | Refrigerant Heat Exchanger |  | PCS | 5
50 | Silverrod 1/8 |  | PCS | 407
51 | Cotted selver rod |  | PCS | 1
52 | Alumunum Rod |  | PCS | 33
53 | Alumunum Welding rod |  | PCS | 13
54 | Filter Drier | 6*12 | PCS | 15
55 | Filter Drier | GR15 | PCS | 80
56 | Filter Drier | 25 | PCS | 70
57 | Gas Tight Joint | BDGTA15 | PCS | 2
58 | Gas Tight Joint |  | PCS | 1
59 | Fan Motor 25W |  | PCS | 4
60 | Current Relay 1/3 |  | PCS | 983
61 | Current Relay | USPAT-42 | PCS | 10
62 | Current Relay | 220-240v | PCS | 13
63 | Danfos Current 1/3 | KAMTECH | PCS | 85
64 | Overload relay 1/5 |  | PCS | 32
65 | Overload relay 1/4 |  | PCS | 101
66 | Overload relay 1/3 |  | PCS | 350
67 | Current Relay White |  | PCS | 125
68 | Current Relay Commen |  | PCS | 245
69 | Fridge Shelf |  | PCS | 10
70 | Thermo Support Systems |  | Set | 1
71 | Universal Support Bracket /Split Condition |  | Set | 2
72 | Caplary tube |  | Roll | 9
73 | Ballast |  | PCS | 1
74 | Clamp (Fasheta) |  | PCS | 39
75 | Ancher Bolt |  | PCS | 13
76 | Ancher Bolt screw Type |  | PCS | 23
77 | Epoxy |  | PCS | 43
78 | Self driving Screw |  | Pkt | 2
79 | Fisher with Screw 6 |  | Pkt | 2
80 | Fisher 12 |  | Pkt | 1
81 | Punta 12 |  | PCS | 1
82 | Punta 8 |  | PCS | 1
83 | Cutting Disk |  | PCS | 1
84 | Flare Hand Valve |  | PCS | 10
85 | Powder Flux |  | PCS | 6
86 | Finder Hand saw |  | PCS | 1
87 | Tube Bender 1/4-5/16-3/8 |  | PCS | 1
88 | Tube Cutter 1/8 - 7/8 |  | PCS | 2
89 | Tube Cutter 1/8 - 11/8 |  | PCS | 2
90 | Puncher |  | PCS | 1
91 | Digital thermometer |  | PCS | 3
92 | Measuring Tools |  | PCS | 1
93 | Electrical Tester |  | PCS | 1
94 | Screw River set |  | Set | 1
95 | Voltage Decttor/AC |  | PCS | 1
96 | Digital Tester |  | PCS | 4
97 | Water Level D/t Size |  | PCS | 3
98 | Head light |  | PCS | 1
99 | Hole Saw #73 /Makita |  | PCS | 1
100 | Hole Saw #86 /Makita |  | PCS | 1
101 | Hole Saw #3'' |  | PCS | 1
102 | Hole Saw #4'' |  | PCS | 1
103 | EYE Google |  | PCS | 6
104 | Silcon Gun |  | PCS | 2
105 | Mask |  | PCS | 9
106 | Gloove Plastic |  | PCS | 14
107 | Gloove |  | PCS | 3
108 | Mega Plier 8 |  | PCS | 1
109 | Rachet |  | PCS | 1
110 | Wire Stripper |  | PCS | 1
111 | Vise Grip Plier 10" |  | PCS | 1
112 | Rabbit Plier |  | PCS | 1
113 | Stare X Monkey Wrench |  | PCS | 2
114 | Monkey Wrench 250 |  | PCS | 4
115 | Pliers Tools |  | Set | 1
116 | Adjustable Wrench 14 (Pipe wrench) |  | PCS | 1
117 | Adjustable Wrench 10 |  | PCS | 1
118 | Adjustable Wrench 12 |  | PCS | 8
119 | Alenkey |  | Pkt | 2
120 | Tool Box /Chrome V. |  | Set | 1
121 | Tool Box/ BLACK&DECKER |  | Set | 1
122 | Flearing Tools |  | PCS | 2
123 | Socket Tool Box Set (75pcs) |  | Set | 1
124 | DREMEL Driver |  | Set | 1
125 | Empty Tool Box |  | PCS | 1
126 | Tools Box Big |  | PCS | 1
127 | Screw Driver FREPOX |  | Set | 1
128 | Finder Socket Set (27 pcs) |  | Set | 1
129 | Richet (Proto) |  | PCS | 1
130 | Richet screw driver (38pcs) |  | Set | 1
131 | SIBOLE finder Tools |  | Set | 1
132 | Screw Driver 3/16*3 |  | Set | 1
133 | Screw Driver ( + ) |  | PCS | 1
134 | Screw Driver ( - ) |  | PCS | 3
135 | Screw driver Big ( - ) |  | PCS | 6
136 | Screw Driver SMALL ( - ) |  | PCS | 1
137 | Screw Driver Medium ( - ) |  | PCS | 1
138 | Test lead |  | PCS | 1
139 | Screw Driver 1*125 Finder |  | PCS | 1
140 | Combination wrench |  | Set | 1
141 | Open ring wrench 18 |  | PCS | 1
142 | Combination wrench 17 |  | PCS | 1
143 | Combination wrench 14 |  | PCS | 5
144 | Open ring wrench 7 |  | PCS | 2
145 | Open ring wrench 8 |  | PCS | 2
146 | Open ring wrench 12-13 |  | PCS | 1
147 | Open ring wrench 7-6 |  | PCS | 1
148 | Plastic Hammer |  | PCS | 2
149 | Blower |  | Pcs | 3
150 | Oxgen Regulator |  | Pcs | 3
151 | Acytilin Regulator |  | Pcs | 2
152 | Tourch |  | Pcs | 2
153 | Electric Charging Scale |  | Pcs | 1
154 | Oil charging Pump |  | Pcs | 1
155 | Tool Box Big |  | Set | 1
156 | Drill 1800W |  | Pcs | 1
157 | Digital Manifolding Gage |  | PCS | 1
158 | Screw Driver D/t Type |  | Set | 1 | Used and Incomplete
159 | Drill Driver/ Cordless |  | Set | 1
160 | Jig Saw |  | PCS | 1
161 | Grinder |  | PCS | 1
162 | Grinder 2000W |  | Pcs | 1
163 | Clamp on meter |  | PCS | 1
164 | Electronic leak Detector |  | PCS | 2
165 | Tube Expander D/T Type |  | PCS | 2
166 | Digital Anemometer |  | PCS | 1
167 | Ringer finder |  | PCS | 1
168 | Refrigerant Leak Detector |  | Pcs | 1
169 | Agitator /Mixer Pump 230V-50HZ |  | PCS | 7
170 | Metallic Pot |  | PCS | 2
171 | Liquid line filter drier |  | PCS | 2
172 | Intercool Transformer SADEN |  | PCS | 4
173 | Refrigerant Accumulator | RA-205 | PCS | 4
174 | Super Gas |  | PCS | 17
175 | Gas Tight Joint |  |  | 1
176 | Drill Chuck 13 |  | PCS | 1
177 | Receiver Drier |  | PCS | 1
178 | Joint ASS | 43330-09510 | PCS | 1
179 | Oil Filter | 90915-YZZ02 | PCS | 4
180 | Boot Kit |  | PCS | 1
181 | Fuel Filter | 23390-YZZA1 | PCS | 1
182 | Fuel Filter | 23390-0L041 | PCS | 2
183 | Clump #14 |  | PCS | 69
184 | Clump #10 |  | Pkt | 2
185 | Clump #8 |  | Pkt | 4
186 | Clump #5 |  | Pkt | 5
187 | Clump #4 |  | Pkt | 1
188 | Rivet Puncher |  | PCS | 1
189 | SP Molding |  | PCS | 80
190 | Fan Bleed | 230/28 | PCS | 964
191 | Fan Bleed | 254/28 | PCS | 15
192 | Fan Motor | 75W | PCS | 6
193 | Fan Motor | 13W | PCS | 1
194 | Fan Motor | 28W | PCS | 1
195 | Fan Motor | 25W | PCS | 2
196 | Fan Motor | 21W | PCS | 1
197 | Fan Motor | 42W | PCS | 1
198 | Spin Motor 220-240V |  | PCS | 1
199 | Fan Motor SANDEN Evaporator |  | PCS | 24
200 | Main Control board Subassembly | O1M1-12 | PCS | 25
201 | Main Control board Subassembly | O1M1-24 | PCS | 4
202 | Main Control board Subassembly | O1M1-18 | PCS | 10
203 | Display board Subassembly |  | PCS | 4
204 | Remote Controller |  | PCS | 13
205 | Louver Motor | 12V | PCS | 2
206 | Room Temperature Sensor Ass'y | 600V | PCS | 3
207 | Indoor Main Control Board Subassembly | 17122 000025148 | PCS | 2
208 | Indoor Main Control Board Subassembly | 17122 000025150 | PCS | 2
209 | Indoor Main Control Board Subassembly | 17122 000030008 | PCS | 4
210 | AC Contactor |  | PCS | 2
211 | Main Control board Subassembly | 17122 000002586 | PCS | 4
212 | Indoor Main Control Board | 17122 000011763 | PCS | 1
213 | Indoor Main Control Board Subassembly | 17122 000021628 | PCS | 5
214 | Capacitor 3Mf | 17400 101000084 | PCS | 3
215 | Compressor Capacitor 60Mf | 17400 103000033 | PCS | 3
216 | AC Board Card |  | PCS | 2
217 | Room Temperature Sensor |  | PCS | 19
218 | Stepper Motor | O1M1-24 | PCS | 1
219 | Stepper Motor | O1M1-12 | PCS | 5
220 | Fan Wing /Small | 15GC | PCS | 6
221 | Fan Wing | P3HR | PCS | 1
222 | Fan Wing /Big |  | PCS | 2
223 | Fan Wing | QCP07 | PCS | 1
224 | Ac Indoor Unit Evaporator Fan Blade #8 |  | PCS | 1
225 | Ac Indoor Unit Evaporator Fan Blade #9 |  | PCS | 1
226 | Ac Indoor Unit Evaporator Fan Blade #11 |  | PCS | 5
227 | Ventilator complete fan wing |  | PCS | 1
228 | Trucking | 60*80 | PCS | 40
229 | Trucking | 40*70 | PCS | 3
230 | Trucking | Big | PCS | 9
231 | Trucking | Small | PCS | 1
232 | Gas charging Eqt |  | Set | 2
233 | Current relay |  | PCS | 51
234 | Overload relay F19 |  | PCS | 132
235 | HITACH Current relay |  | PCS | 12
236 | Com. oil/ Motorol |  | PCS | 2
237 | SUNISO Refrigerate Oil | SL68 | PCS | 3
238 | Disel Engen Oil T1R7400 5Ltr |  | PCS | 8
239 | Oil Filter | 2654403 | PCS | 2
240 | Fuel Filter | FF5052 | PCS | 2
241 | Western Gas R-134a |  | PCS | 2
242 | Water Pump |  | PCS | 1
243 | Albright Chemical |  | PCS | 1
244 | Tools Bag |  | PCS | 2
245 | Reflector |  | PCS | 6
246 | T-shirt |  | PCS | 2
247 | Tuta |  | PCS | 10
248 | Rotary Compressor | C1MO-18 | PCS | 1
249 | Rotary Compressor | C1MO-12 | PCS | 1
250 | Gas 2D 404A |  | PCS
251 | Gas 404A Weston |  | PCS | 9
252 | Gas 407C Xpert |  | PCS | 3
253 | Gas 407C Westron |  | PCS | 2
254 | Gas 407C Refrigerant |  | PCS | 5
255 | Gas 134a Freon |  | PCS | 3
256 | Gas 134a SUVA |  | PCS | 2
257 | Gas 134a Westron |  | PCS | 11
258 | Gas Refrigerant 600A |  | PCS | 15
259 | Gas R-32 | 3Kg | PCS | 1
260 | Gas R-32 |  | PCS | 3
261 | Gas Westron-22 |  | PCS | 2
262 | Gas Westron 410A |  | PCS | 2
263 | Gas R290 |  | PCS | 9
264 | Rotary Compressor For 18000BTU |  | PCS | 4
265 | Rotary Compressor For 12000BTU |  | PCS | 4
266 | Copper Pipe With Insulation | 9.5mm*0.6mm | Roll | 3
267 | Tubing Flex | 6.8*12.7mm | Roll | 1
268 | Compressor | KCG430LAL-B321H | PCS | 1
269 | Jongust 1/2 - 5/16 |  | PCS | 30
270 | Jongust 1/2 |  | PCS | 110
271 | Jongust T 3/8 |  | PCS | 20
272 | Jongust 3/8 - 5/8 |  | PCS | 10
273 | Jongust 3/8 |  | PCS | 60
274 | Jongust 1/2 - 5/16 |  | PCS | 18
275 | Jongust 5/16 - 3/8 |  | PCS | 30
276 | Tap 3/8 |  | PCS | 246
277 | Chilli Gage |  | PCS | 15
278 | Hiwi Gage |  | PCS | 20
279 | China Gage |  | PCS | 40
280 | Air Pressur Reducer Guage |  | PCS | 400
281 | Micromatic Gage |  | PCS | 6
282 | Dispenser Head |  | PCS | 6
283 | Dispenser Head A-Type |  | PCS | 314
284 | Micromatic dispenser head A-type |  | PCS | 54
285 | Grade Ribbed |  | Roll | 1
286 | Copper 3/4 |  | Roll | 3
287 | Copper 5/8 |  | Roll | 3
288 | Copper 1/2 |  | Roll | 11
289 | Copper 5/16 |  | Roll | 10
290 | Copper 1/4 |  | Roll | 34
291 | Copper Pipe 3/8 |  | PCS | 6
292 | Copper Pipe 5/8 |  | PCS | 6
293 | Gasket FV 280 14/16 |  | PCS | 30
294 | Gasket FV 280 13/16 |  | PCS | 30
295 | Gasket 6/16 |  | PCS | 38
296 | Gasket 5/16 |  | PCS | 40
297 | Gasket 10/16 |  | PCS | 30
298 | Gasket 7/16 |  | PCS | 30
299 | Gasket 9/16 |  | PCS | 30
300 | Gasket 15/16 |  | PCS | 6
301 | Gasket |  | PCS | 30
302 | Gasket Big |  | PCS | 81
303 | Gasket Small |  | PCS | 30
304 | Gasket Large |  | PCS | 1
305 | Control Panel Mounting AKO |  | PCS | 1
306 | Super Gas Gun Rosenberger |  | PCS | 1
307 | Mechanical Board insulation 25mm |  | PCS | 1
308 | HD Pipe Insulation 28mm*25mm |  | PCS | 1
309 | Bar Tap DSI7 |  | PCS | 1
310 | Propone Button |  | Set | 1
311 | Circuit Break 25A |  | PCS | 1
312 | Danfos | BF 230AS | PCS | 1
313 | Wall Mounted Energy Ventilator |  | PCS | 1
314 | PTC Relay |  | PCS | 10
315 | Curent relay | BT18-105 | PCS | 1
316 | Curent relay | KAMTECH 220V | PCS | 9
317 | Current relay 1/4 |  | PCS | 1
318 | Current relay 1/2 |  | PCS | 8
319 | Temperature programing(Metal fro) |  | PCS | 2
320 | Wide range thermostat UT72 |  | PCS | 1
321 | Thermo/CAB Control | 500NB | PCS | 1
322 | Capacitor 8Mf |  | PCS | 22
323 | Capacitor 10Mf |  | PCS | 7
324 | Control Box 12V/ Thermal Motor |  | PCS | 1
325 | Cable 2*7 |  | Mtr | 9
326 | Cable 2*10 |  | Mtr | 102
327 | Compressor Embrco 2Hp |  | PCS | 5
328 | Control Box 24V/ Thermal Motor |  | PCS | 4
329 | VRV AC |  | PCS | 1
330 | VRV AC SMALL |  | PCS | 1
331 | CVC751 ME 459469 |  | PCS | 1
332 | RVC1302 ME 459470 Freezer |  | PCS | 1
333 | RVC751 ME 459468 Fridge |  | PCS | 6
334 | Presser Washer |  | PCS | 1
335 | Ladder Big |  | PCS | 1
336 | Ladder Small |  | PCS | 2
337 | Hand Truck |  | PCS | 1
338 | Metal Welding Machen |  | PCS | 1
339 | Silcon |  | PCS
340 | Chest Solar Deep Freezer |  | PCS | 1
341 | 12000 Btu/Hr AC heating and Cooling SOLAR HYBRID |  | PCS | 1
342 | AC 9000 BTU | Daikin | PCS | 28
343 | AC 24 BTU Outdoor Unit Floor ceiling indoor |  | PCS | 10
344 | AC 18 BTU Outdoor Unit Floor ceiling indoor |  | PCS | 9
345 | Chest Freezer-158 with solar pannel |  | PCS | 16
346 | Chest Freezer-208 with solar pannel |  | PCS | 18
347 | Chest Freezer-308 with solar pannel |  | PCS | 15
348 | Chest Freezer-358 with solar pannel |  | PCS | 15
349 | Chest Freezer-158Y with solar pannel |  | PCS | 9
350 | Copmressor Semi Hermetic Type 4HP |  | PCS | 3
351 | Copmressor Semi Hermetic Type 5HP |  | PCS | 2
352 | Copmressor Semi Hermetic Type 7HP |  | PCS | 2
353 | AC condensing unit,Evaporator and Controller Box 5HP |  | PCS | 1
354 | AC condensing unit,Evaporator and Controller Box 6HP |  | PCS | 1
355 | AC condensing unit,Evaporator and Controller Box 7HP |  | PCS | 1
356 | AC condensing unit,Evaporator and Controller Box 10HP |  | PCS | 1
357 | Compressor 1/3 |  | PCS | 70
358 | Insulation pipe 3/8 |  | PCS | 600
359 | Insulation pipe 1/2 |  | PCS | 500
360 | Insulation pipe 3/4 |  | PCS | 360
361 | Insulation pipe 1 |  | PCS | 245
362 | Multi split AC 21000 BTU outdoor with 2pcs 12000Btu/hr Indoor |  | PCS | 6
363 | Multi split AC 36000 BTU outdoor with 2pcs 18000Btu/hr Indoor |  | PCS | 8
364 | Multi split AC 42000 BTU outdoor with 3pcs 12000Btu/hr Indoor |  | PCS | 5
365 | 48000 btu FLOOR STAND AC AFSV-48CB380v/3ph/50hz |  | PCS | 1
366 | 60000btu/380v/3pH/50hZ FLOOR STAND AC AFSV-60CB |  | PCS | 1
367 | Indoor Fan for Heinken Kilinto |  | PCS | 1
368 | 24V DC Condenser fan motor |  | PCS | 1
369 | Chemical |  | Barrl | 8
370 | Condensing unit 8Hp |  | PCS | 1 | used from shraton
371 | Compressor 230 |  | PCS | 30
No | Description | Vehicle
1 | 3-27010 Vehicle | 1
2 | 3-96019 Vehicle | 1
3 | 3-71583 Vehicle | 1
4 | 3-86391 Vehicle | 1
5 | 3-89054 Vehicle | 1
6 | 3-13859 Vehicle | 1
7 | 3-82961 Vehicle | 1
8 | 3-02813 Vehicle | 1
9 | 3-34041 Vehicle | 1
9 Vehicle

## Kasmee trading plc
KASMEE TRADING PLC
INVENTORY COUNT LIST
FOR THE PERIOD OF SENE 30,2018
No | Description | Qty on Hand
1 | Cold Truck Compressor | 1
2 | Ac 12000 Btu/Hr Old | 1
3 | AC 9000 Btu/Hr | 22
4 | Ac 12000 Btu/Hr | 31
5 | Ac 18000 Btu/Hr | 30
6 | Ac 24000 Btu/Hr | 61
7 | Gas R32 3Kg | 1
8 | Mono Block Cold Room | 1
9 | Cold Room Condasing Unit | 1
10 | Front Mounted Direct Drive HT-280 Condensor and Evaporator | 1
11 | Front Mounted Direct Drive HT-380 Condensor and Evaporator | 1
12 | Copper 3/8 | 7Roll
No | Description | Fixed Asset
1 | 3-55392 Vehicle | 1
No | Description | Qty on Hand
1 | ST com opt Model AA | 10
2 | ST com opt Model A up to 40Lt | 152
3 | ST com opt Model B Up to 70Lt | 180
4 | ST com opt Model C Up to 120Lt | 194
5 | ST com opt Model D Up to 400Lt | 46
6 | ST com opt Model E Up to 800Lt | 28